PHONE (706) 733-8878

### PATIENTS, NURSES, HOME HEALTH & FAMILY HELPERS
Suggested POST SURGICAL PROTOCOLS 
(FLO-TECH-TOR™ Protocols):

*Daily Hygiene, Range of Motion and Transfer Recommendations:

- *Remove the FLO-TECH-TOR™ socket 2 times per day.

- *Remove the outer fitting sock (or stockinet) and the polyurethane distal end pad.

- Examine (do not remove) the innermost post-op fitting sock (or sterile stockinet) for signs of excessive bleeding or drainage

  - If excessive blood or drainage is found, contact the physician immediately.

  - If only mild spotting is noted make a record and proceed.

  - Record the size and location of the spotting.

  - If the spotting becomes excessive at some later point contact the physician.

- Wash the reticulated distal end pad with an anti-bacterial soap; rinse well, dry the pad by gently compressing it in a towel
(DO NOT WRING),

- reapply the pad and a clean dry outer sock over the pad.

- Re-apply the FLO-TECH-TOR™ socket.

- The strap at the mid patella tendon (just below the knee) should be loose enough to slide a finger under it.

- When standing the strap and the Velcro® compatible Neoprene® bands should be tightened.

- When in bed or reclined in a chair the mid patella tendon strap should be loose enough to slide a finger under it.

*THE COMPLETE HYGIENE PROCESS SHOULD TAKE NO LONGER THAN 20 MINUTES EACH TIME.

### PHYSICAL THERAPISTS
Suggested POST SURGICAL PROTOCOLS 
(FLO-TECH-TOR™ Protocols):

Daily Use, Rehabilitation and Training:

- Weight bearing MUST be authorized by a physician / ****ZERO WEIGHT BEARING ****

- Patients may begin early contact weight bearing; upon receipt of the FLO-TECH-TOR™, either in a tilt table or by standing on a pillow with a chair supporting the distal socket.

- Patients should be encouraged to begin monitored use of the FLO-TECH-TOR™ in conjunction with the UFOS, as soon as they are able (usually 24 hours to 7 days post-op).

- The extension strap is detached from the FLO-TECH-TOR™ fork strap and secured to the UFOS™ fork strap.

- When the time is right, patients should be encouraged to keep possession of the UFOS™.

- Training, prior to and after receiving the UFOS™, MUST stress: caution, following strap procedure, transfer skills, form (posture and balance), navigating obstacles and being aware of and reporting fitting problems as they develop.

- The patient should return to his/her licensed or certified prosthetist as often as appointments are scheduled.

- The prosthetist, with a doctor's prescription, will provide a VCSPS™ (Variable Circumference Supra Patella Socket [a pre-fabricated preparatory prosthesis]) to be used with the same UFOS™, when the patient is ready for knee flexion and full weight bearing.